PRODUCT INFORMATION SHEET ANTFP1SSS

Product description anti ligature flush pull manufactured from AISI 304 stainless steel satin polished

Design features. Designed to resist attempts to attach a ligature, internal grip is radiused’to resist objects being forced into into it to form a ligature point.

Fire resistance please read the attached report product has been subject to an indicative fire test by Lorient products on 44mm and 54mm doors which was passed. To achieve this rating an intumescent pad should be used. If in doubt please contact us for further information.

Fitting instructions the product can be fitted with the grip in a vertical or horizontal orientation. Full fitting instructions are supplied with the product.

Fixings supplied with 6x1 torx pin screws do not use power drivers to fit these screws as this may damage the screw head and prevent the screws being screwed completely home and prevent authorised removal

Care and maintainance the polished surface should be cleaned with a non abrasive cleaner soapy water will suffice in most instances.